## Slide 1: Towards systems architecture for building operation analysis in large-scale environments
Adam Kučera

## Slide 2
Introduction & Motivation – Facility Management systems
Problem – BMS data analysis
Methods & Areas of research
Results
Conclusions

## Slide 3: Introduction
Facility management systems

## Slide 4: Facility management
According to IFMA (International Facility management association): „a profession that encompasses multiple disciplines to ensure functionality of the built environment by integrating people, place, process and technology“
FM ensures tasks, which are not part of organization‘s „core business“

## Slide 5: CAFM(Computer-Aided Facility Management)
CAFM software supports:
  Space management
  Maintenance
  Energy management
Provides advanced analytical tools

## Slide 6: BIM (Building Infrastructure Modelling)
Database of building constructions and devices

## Slide 7: BMS (Building management system)
Monitors and controls building automation systems
MU has large BMS (40 buildings, 1000 devices,...)

## Slide 8: Motivation
Facility manager should be able to query the BMS system in similar manner to those examples:
  Show me which rooms on the second floor of A11 building had running AC units during last 8 weekends.
  Tomorrow morning, I want to receive report about electricity consumption in 5 minute intervals for those 4 buildings during this night.
  I want to know which devices influence temperature in office of Mr./Mrs. XY.
  For all buildings at University Campus, compare electricity consumption per square meter.

## Slide 9: Problem
Issues od building operation analysis

## Slide 10: Issues of BMS
Inaccessible data
Missing semantics
Inflexible built-in analytical features
=>
Advanced analytical tools are unavailable for large-scale environments
Integration of BMS, BIM and CAFM does not exist

## Slide 11: Two types of users
BMS contain precise and detailed data about building operation
Those data are not easily accessible
Two kinds of people:
  Knows how to analyze data but can‘t get them (Facility managers)
  Knows how to get the data but can‘t analyze them (BMS operators)

## Slide 12: Methods & Areas of research
Steps towards flexible and efficient analysis

## Slide 13: Methods and areas of research
Systems architecture
Exposing the BMS data
BMS data semantics
BMS specific operators
Query typology
Query definition
Visualization of results

## Slide 14: Results
Existing applications & tools, Work in progress

## Slide 15: Results
Exposing data
  Technology data mart
  BMS API
Integrating BMS&BIM
  Ontology repository
Analysis & UI
  CEP engine
  Archive data browser
  Machine learning methods
Notes: Tools are made without the support of ontology – repeating problems lead us to its development

## Slide 16: Conclusions
Benefits of proposed solution

## Slide 17: Conclusion
The main goal:
  Platform/Architecture for FM data processing
Developers will focus on:
  Analytical methods
  Convenient user interfaces
Facility managers will be provided with:
  Direct querying of the BMS
  Flexible reports
  Advanced analytical tools
  Incorporation of BMS data into CAFM
Notes: Platform contains APIS, OLAP, ontology repository, guidlines for querying
Development of new applications will be reduced to fornt-end and analytical features (machine learning,...)
Not many people understands all areas - BMS, GIS, AI
Incorporation of BMS data into decission support tools provided by CAFM

## Slide 18: Thank You for your attention.
Questions?