## Slide 1: III.Selected instruments in restorative dentistry

## Slide 2: Instruments for investigation
Mirror

## Slide 3: Instruments for investigation
Straight probe

## Slide 4: Instruments for investigation
Periodontal probe -calibrated

## Slide 5: Tweezer

## Slide 6: Preparation - techniques
Power driven – mostly rotary
Hand
Less common – laser, ultrasound etc.

## Slide 7: Turbine handpiece
400.000 rpm
Low torque control, vigorous preparation

## Slide 8: Electromotor and Air Motor
Electromotor – maximum 40.000 rpm
Air motor – maximum 20.000 rpm
The rpm is possible to modify using hanpieces
with various gear.
High speed
Low speed
Gear 1:1
Oscillation
(rotation is blocked)

## Slide 9: High speed handpiece
Red coded. Better control in comparison with the turbine handpiece

## Slide 10: Gear 1:1
Blue coded. Preparation in dentin recommended

## Slide 11: Low speed handpiece
Suitable for slow worh e.g. excavation of carious dentin

## Slide 12: Special handpieces
Handpiece for compaction of amalgam
EWA system ( instrument does not rotate, if oscillate only)
Handpieces for endodontology and implantology

## Slide 13: Hand instruments
Chisels
Fopr finishing of gingival wall in class II

## Slide 14: Excavator
Ostrý, lžičce podobný nástroj k odstranění kazivého dentinu.

## Slide 15: Rotary instruments
Burs and diamonds.
ISO norm 6360
5 figures A – E
A- material (Stainless steel, tungsten -carbide,diamond)
B,C size and kind of the handpiece (straight handpiece, contraangle, turbine)
D shape of the working part (ball, pear,fissure)
E further characterization ( blades or grit)

## Slide 16: Shape of the shank Contra angle handpiece Turbine handpiece

## Slide 17
Inverted cone, pear formed bur, fissure bur, round (ball) bur
Notes: Konu
17

## Slide 18: Diamonds
Blue - standard (90 – 120 mm) ISO 524
Universal use

## Slide 19: Diamonds
Black extra coarse (150 – 180 mm) ISO 544 – No for cavities, e.g. for cutting old crowns

## Slide 20: Diamonds
Green - coarse (125 – 150 mm) ISO 534,
For special purposism no for cavities

## Slide 21: Diamonds
Red- fine ( 20 – 40 mm) ISO 514 – finishinf of preparation – smoothen of beveling

## Slide 22: Diamonds
Yellow – extra fine (12 – 22mm) ISO 504,
Finishing of composite fillings

## Slide 23: Diamonds
White –ultra fine (6-12 mm) ISO 494 –
Polishing of composite fillings

## Slide 24: Preparation instruments for cavosurface margin

## Slide 25: Preparation instruments for finishing of borders

## Slide 26: Preparation instruments Bur for excavation of carious dentin

## Slide 27: Rotary instruments for polishing of fillings – Arkansas stone

## Slide 28: Rotary instruments for finishing extra fine diamonds

## Slide 29: Rubber rotary instruments – for polishing

## Slide 30: Nástroje k úpravě výplní Rotační kartáčky

## Slide 31: Filling instruments Spatula + condensor

## Slide 32: Detail of a condensor

## Slide 33: Spatula (3 angled)

## Slide 34: Spatula in detailb(3 angled)

## Slide 35: Frahm

## Slide 36: Discoid-cleoid

## Slide 37: Wiland - carver

## Slide 38: Burnishers

## Slide 39: Instrument for composite fillings

## Slide 40: Instrument for composite fillings

## Slide 41: Condensor