## Slide 1: Total knee replacement
MUDr. Jan Emmer, I. Ortopedická klinika FNUSA v BRně

## Slide 2: Anatomy
Hinge synovial type joint(femur, tibie, patella)
Ligaments, static stabilizers:
  MQF tendon, ligamentum patellae
  Retinacula patellae
  Lig. Collateralis tibiale et fibulare
  Lig. Popliteum obliquum, lig. Popliteum arcuatum
  Ligamena cruciata genus (anterieor et posterior)
  Meniscus medialis et lateralis
  Joint capsule

## Slide 3: Anatomy
Muscles- extenzors
  MQF (n. femoralis)

## Slide 4: Anatomy
Muscles – flexors
  M. biceps femoris (+ aditional hip extension; n. ischiadicus)
  M. semitendinosus (+ aditional hip extension and adduction , I.R. knee joint; n ischadicus)
  M. semimembranosus (+ aditional hip extension and adduction , I.R. knee joint; n ischadicus)
  M. sartorius (+E.R. hip joint, aditional hip flexion; n. femoralis)
  M. gracilis (+Hip addkuction, aditional hip flexion; n. obturatorius)
  M. triceps surae (aditional knee flexion, postural muscle; n. tibialis)
  M. popliteus (aditional knee flexion, tendon intraarticlulary!)

## Slide 5: Knee joint kinematics
S 0-0-140 (hyperextension fyziol. up to 10 st, passively bigger flection)
Motion:
  1: Initial rotation („unlocking knee joint“) internal tibial rotation , initial 5° st felxion
  2: Rolling motion (meniscofemoral joint)
  3: Rollback (terminal flexion, femur on tibia moves dorzaly)
  4: Terminal tibial external rotation

## Slide 6: TKR indications
Painfull knee condition
Poor effect of conservative therapy
No salvage surgeries indicated
Life comfort deteriorated

## Slide 7: TKR indications
OA primary
OA secundary
Psoriatic arthropathy
Aseptic femoral condyle necrosis (m. Ahlback)
Hemophilic arthropathy
Rheumatoid arthropathy
Tumors
Traumas

## Slide 8: TKR cotraindications
Poor general condition, poor physical status (ASA IV)
Persistent infection
Severe comorbidity with poor prognosis
Poor vascular status of extremity
Neurogenic arthorpaty
Extreme obesity
Strong malcompliance

## Slide 9: TKR fixation options
Cemented
  Most frequent
  Good results
  Usus of departement/clinic
  Price

## Slide 10: TKR fixation options
Hybrid
Tibia cementless (most cases)
Better life expectancy

## Slide 11: TKR fixation options
Cementless
  Good results
  Young patients
  Bone cement alergy
  Price?

## Slide 12: Knee replacement range
Unicompartmental
Bicompartmental
Tricompartmental

## Slide 13: TKR implant types (stability)
CR (cruciate retaining – PCL retaining)
UC (ultra congruent) – „deeper“ tibial plateau – higer stability
PS (posterieor stabilized – insuficient/missing PCL ) Component design takes over function of PCL
CCK (condylar constrained knee replacement) – if correct soft tissue ballancing impossible (varus over 15°, LCL lesion)
Hinged (Always if LCM insuficient!) Fully constrained design. Revisions, tumors, extreme pimary valgozity

## Slide 14: Materials
Femoral component - requirements
  Biocompatibility
  Wear resistance
  Mechanical strenght
  Osteointegration (cementless implants)
  Antialergic implants (if metal allergy presented)
  Future? Biofilm resistance

## Slide 15: MaterialS
Femoral component
  Alloys (Fe, Ni, Co, Cr, Ti)
  Metal allergy: Ceramic
  Composite (ZrN coated)

## Slide 16: Materials
Tibial component + articulation plateau - requirements
  Biocompatibility
  Wear resistance!!
  Modulus of elasticity similar as bone
  Osteointegration (cementless implants)
  Antialergic implants (if metal allergy presented)
  Future? Biofilm resistance

## Slide 17: Materials
Tibial component
  Metalback – titanium alloys
  PE plateau
    UHMWPE - Ultra high molecular weight polyethylen ) – golden standard, good elasticity modulus x wear resistence ratio
    HXLCPE- Highly cross-linked polyethylene – poor results so far (too rigid?)

## Slide 18: Materials
Cementless implants requirements – bone adjacent surface
  Biocompatibility
  Osteoinductive material
  Rapid bone ingrowth and reliable incorporation

## Slide 19: Materials
Cementless implants requirements – bone adjacent surface
  Trabecular titan
  Trabecular tantal

## Slide 20: Design of components
Aim – as much natural kinematics as possible
  Medial pivot
  Multi radius femoral komponent – higer flexion of TKR

## Slide 21: UKR – Unicompartmental knee replacement
Medial (very most cases), lateral (rare)
Indications:
  Medial OA
  Intact all ligaments (ACL included)
  Varus/valgus up to 10°; reponible
  Extension deficit up to 5°, flexion over 120°
  Asymtomatic FP compartment
Benefits:
  Biger ROM
  Proprioception
  Natural kinematics
  TKR conversion possible

## Slide 22: TKR – condylar replacement
Very most implantations
All poly/ metal backed tibial c.
ACL resection
Intact functional PCL, LCM, LCL

## Slide 23: TKR – patelar replacement
Second stage surgery – if FP copmartment symtomatic after TKR (philosophy?)
If rotation of femoral component correct, no need in very most cases
If femoral component malposition – patellar maltracking

## Slide 24: TKR Stems, augments, posterior stabilized (PS)
Poor bone quality
Bridging of bone defects
Posttraumatic OA
Revisions
PS if PCL deficient/missing
Intact functional LCM, LCL!

## Slide 25: Tu - TKR
Resection Tu/meta around knee joint including joint ends
Onkological radicality first!!
Custom - made implants
Inferior outcome (compare TKR)
Higer complication ratio

## Slide 26: Preoperative examination
ASA
Infection focus exclusion (neg FW, CRP), stomatological examination incl. OPG
CAVE!
  Warfarin
  NOAK
  NSAID
  PAD
  Vascular status

## Slide 27: Preoperative planning
Long film X ray
Mechanical x anatomical axis
Ideal 6° valgus

## Slide 28: Basic implantation philosophy
MA (mechanical alignement)
  Respect mechanical axis
  Does not respect individual status
  Resection to gain 6°valgosity
  Goal – physiological mechanical axis

## Slide 29: Basic implantation philosophy
Kinematic alignment
  Does not respect physiological mechanical axis
  Respect individual knee situation
  Goal – gain axis used to be before severe OA developed
  „resurfacing“

## Slide 30: Basic implantation philosophy
Planning

## Slide 31: Basic implantation philosophy
  Mechanical alingnment Kinematic alignment

## Slide 32: Operation technic
Standardized
Medial parapatellar approach x mid x subvastus
Parc. Hoff fat pad resection
Patella – Eversion, denervation + cheilectomy x parc. resection x patellar replacement implantation
Distal femoral cut
Proximal tibial cut
Soft tissue balancing!!

## Slide 33: Operation technic
Flexion x extension gap
Femoral component rotation
Femoral resection
Probe component (soft tissue balance test)
Tibial preparation (correct rotation!)
Pulsed lavage
Original components + bony cement
Reliable suture!

## Slide 34: Operation technic
Tibia first
X
Femur first
X
Extension gap technique

## Slide 35: Computer navigation
Optional, some hospital /countries obligatory
Mapping reference points and kinematics into SW
Special instrumentary
Surgeon is guided
Necesserry if intramedular instrumentary impossible (trauma)

## Slide 36: Computer navigation
Reference points mapping
3D virtual model

## Slide 37: Computer navigation
Proximal tibial cut planning
Distal femoral cut planning

## Slide 38: periprosthetic joint infection (PJI) prevention
Preop. Examination!
ATB perioperatively – Cefazolin i.v. 1 dose before + 3 doses post op.
Drainage EX in 24h
If urinary catheter present - ATB
Strict régime at op. theater
Wound care till healing
Lege artis diagnostic and therapy protocol of eventual PJI

## Slide 39: Post op. management
ICU (post op ward) one day if no complication
Hospitalization at orotpedic ward for 5 days
Verticalization first post op. day
Complex rehabilitation protocol, rehabitalitation nurse obligatory
6. day – tranfer to rehabilitation ward
Spa – in CZ coverd by public health insurance in 3 post op. months
DVT prevention – standard 10 days (LMWH), if risk factor presented, 6 weeks (NOAK)
Trends: Shoretening inpation period (risc of nosocomial infection, economic aspects)
Fast track physiotherapy
Outpatient surgery?

## Slide 40: Follow up
Standardized
First check up by ortopedical surgeon in 6 weeks (X ray included)
Second in 3 months, then 6 month
Further each 2 years (X ray included) if no problem present
EDUCATION, EDUCATION, EDUCATION!
  Activity, limitation and régime with TKR
  PJI prevention
  Urgent check – up if suspected PJI

## Slide 41: Complications
Peri and early pos op. morbidity and mortality
  Nervous and vascular injury
  Blood loss
  Perioperative fracture (femoral condyle)
  Pulmonary embolism
  IM
  General decompensation
  Development of delirium

## Slide 42: Complications
Periprosthetic infeciton (PJI) – 1-2% primo, 5-10% revision
  Early – up to 2 weeks after surgery
  Late hematogenic
  Diagnostic
    General symptomas of infection
    Local condition
    Artrocentesis + aspiration - cultivation + PCR
    Fistula with purulent secretion
    Radiolucent periprosthehic lines around implant on X ray (chronic PJI)

## Slide 43: Periprosthetic infection (PJI)
Therapy
  Up to 2 weeks from manifestation - DIAR (debridement, ATB, implant retention)
  Uprard of 2 weeks – revision, debridement, replantation
    One stage – dubious outcome
    Two stage – cemented ATB spacer, after healing ínfection revision and new implant possible
    ATB supression of chronic infection optional (old patients with no perspective to surgery)
ATB therapy
  Cultivation(punciton + aspiration, perioperativly samples, sonication of implant)
  ATB i.v. 2 weeks minimum
  6 weeks p.o.

## Slide 44: Periprosthetic infection (PJI)
Chronic PJI X ray

## Slide 45: Periprosthetic infection (PJI)
ATB spacer
Rigid (stiff)
Articulation

## Slide 46: Periprosthetic infection (PJI)
Revision, new TKR implantation

## Slide 47: Periprostehtic infection (PJI)
Relapse of infection – ultimum refugium
  Fusion
  Amputation (rarely)

## Slide 48: Aseptic loosening
Most frequent TKR revision reason
Macrophage-induced inflammatory response resulting in bone loss and implant loosening
PE particle inducted granuloma

## Slide 49: Aseptic loosening - therapy
Revision, replantation
  Revision implant, stems, augmens. Cement with ATB
  Double ATB combination – higer infection risk

## Slide 50: Aseptic loosening - prevention
Modern quality PE (minimal wear rate)
Correct surgery technique - ballancig
Reasonable régime after TKR
Follow up, early revision indication.

## Slide 51: Periprosthetic fracture
Relatively frequent complication
Dist. Femur x prox tibia x patella
Older patients, worse general condition
Osteoporosis, poor implant retention
High mortality and morbidity rate
High compliction rate
Demanding surgeries (experienced surgeon)

## Slide 52: Periprosthetic femoral fracture; classifcation
Su
Lewis and Roarbeck
Neer, Tomáš, DiGioia and Rubash, Chen…

## Slide 53: Periprosthetic femoral fracture; therapy
conservative – no/minimal displacement + implant retention; poor general condition
IM stem (implant retention + fr. above fem. component)
OS (LCP, condylar plate –implant rtention + fr. In the level of fem. component)
Femoral component replantation + stem (loosening of fem. component)

## Slide 54: Periprosthetic tibial fracture; classification
Mayo, Felix

## Slide 55: Periprosthetic tibial fracture; THERApy
conservative – no/minimal displacement + implant retention; poor general condition
ORIF (unstable fracture, stable implant)
Replantation of tib. component + stem (unstable tib. component)

## Slide 56
Thank you for yor attention