## Slide 1: Examination techniques in ophthalmology V. Matušková

## Slide 2: Basic examination techniques
Visual acuity (natural, best corrected)
Measurement of intraocular pressure
Slit lamp examination
Fundus examination

## Slide 3: Visual acuity
Visual acuity (natural, best corrected)
Distance vision
Near vision
Charts
Snellen
Landolt ring
Pictures
ETDRS
Jaeger

## Slide 4: Charts

## Slide 5: Near vision
Jaeger chart
VODS: s +2,5 Dsf J.No. 1

## Slide 6: Visual Acuity
5/50 (metres, feet 20/200)
0,1
Minimum separabile – minimum angle of resolution

## Slide 7: Visual acuity
Counting finger (metres )
Hand movement
Light perception
Amaurosis
Practical blindness

## Slide 8
Refractive error is an optical abnormality in which the shape of the eye fails to bring light into sharp focus on the retina, resulting in blurred or distorted vision.
In optometry, a "refraction" procedure is the measurement of refractive error
Autorefractor
Refraction

## Slide 9
Autorefractor

## Slide 10: Visual acuity
VOD: 5/50, s – 2,0 Dsf a -1,0 Dcyl ax 90 5/5
VOS: 5/30, s – 2,5 Dsf a -1,5 Dcyl ax 100 5/7,5,
VOD: visus oculi dextri
VOS: visus oculi sinistri
Dsf: dioptry sferic
Dcyl: dioptry cylindric
Ax: axis

## Slide 11: Visual acuity
Frame
Lenses
Axis

## Slide 12: Tonometry
Contact techniques
Schiötz tonometry
Goldmann applanation tonometry
Non contact techniques
Jet air (air puff)

## Slide 13: Schiötz tonometry
7/7,5
Topical anestesia

## Slide 14: Schiötz tonometry

## Slide 15: Goldmann tonometry
The normal range is 10-21 mmHg
Topical anestesia, fluorescein
Force required to flatten the cornae

## Slide 16: Goldmann tonometry

## Slide 17: Non contact tonometry

## Slide 18: Examination of anterior segment
Aspection
Ectropium
Ptosis
Lagophtalmus
Entropium

## Slide 19: Slit lamp biomicroscopy
table mounted microscope with a special adjustable illumination source attached

## Slide 20: Slit lamp biomicroscopy

## Slide 21: Slit lamp biomicroscopy

## Slide 22: Slit lamp biomicroscopy

## Slide 23: Slit lamp biomicroscopy
,

## Slide 24: Synechiae posterior

## Slide 25: Sunconjunctival haemorrhage

## Slide 26: Corneal abrasion

## Slide 27: Hyphema

## Slide 28: Hypopyon

## Slide 29: Examination of fundus
Ophthalmoscopy - direct (no steropsis, worse for periphery)
- indirect
Slit lamp biomicrocsopy
(high power convex lens, the image is vertically inverted
and laterally reversed)
Mydriasis is neccesary !

## Slide 30
Notes: 30

## Slide 31
Ocular fundus

## Slide 32: Status of the lens
Phakic eye (own lens)
Pseudophakic eye (arteficial intraocular lens)
Aphakic eye (without any lens)

## Slide 33: Farmacology
Pilocarpin - parasympatomimetics
Atropin – parasympatolyticum (anticholinergicum)
Scopolamin, tropikamid

## Slide 34
Special examination techniques

## Slide 35: Gonioscopy
Gonio lens ( mirrors)
Angle structures
Fundus examination
Notes: 35

## Slide 36
Notes: 36

## Slide 38: Optical coherence tomography

## Slide 39: Fluorescein angiography

## Slide 40
ERG (electroretinography)
diagnosis of functional defects of retina
Record of an action potential produced by the retina when it is stimulated by light
VEP (visual evoked potential)
-diagnosis of functional defects of visual pathways
Record of electrical activity of the visual cortex created by stimulation of the retina
Electrophysical tests

## Slide 41: Electrophysical tests

## Slide 42: Electrophysical tests

## Slide 43: Ultrasound

## Slide 44: Ultrasound
Non transparent optical media
UBM- high frequency ultrasound – imaging of anterior segment

## Slide 45: Ultrasound
A scan ( biometry)
B scan

## Slide 46: Ultrasound

## Slide 47: Color vision – HUE test

## Slide 48: Hertl exoftalmometry

## Slide 49
Děkuji za pozornost!