**Laser ablation inductively coupled plasma MS as a tool for elemental mapping**

Tereza Warchilová1, Tomáš Vaculovič1,2, Oldřich Matal3, Tomáš Šimo3, Zuzana Čadková4, Jiřina Száková5, Viktor Kanický1,2

1Department of Chemistry, Faculty of Science, Masaryk University, Kotlářská 2, 611 37 Brno, Czech Republic

2Central European Institute of Technology (CEITEC), Masaryk University, Kamenice 5, 625 00 Brno, Czech Republic

3Energovýzkum, spol. s.r.o., Božetěchova 17, 612 00 Brno, Czech Republic

4Department of Zoology and Fisheries, Czech University of Life Sciences in Praha, Kamycka 129, 165 21 Praha, Czech Republic

5Department of Agroenvironmental Chemistry and Plant Nutrition, Faculty of Agrobiology, Food and Natural Resources, Czech University of Life Sciences, Kamýcká 129, 165 21 Praha 6 – Suchdol, Czech Republic

Laser ablation inductively coupled plasma mass spectrometry (LA-ICP-MS) is becoming very favorite technique for direct solid sample analysis in analytical chemistry. At present, it represents one of the most sensitive techniques for the imaging of metals, metalloids (Se) and nonmetals (P, S, C). Imaging of these elements was applied to a wide range of biological samples (brain slices, plant tissues, bones, teeth...). The major advantages of this technology are no or little sample preparation, possibility of minor and trace element analysis, high sensitivity and impressive lateral resolution which enable detection of small material defects. LA-ICP-MS and electron probe micro-analysis (EPMA) were applied to mapping of lateral elemental distribution of corroded samples. Data obtained by these two methods were compared statistically. Elemental imaging of tapeworm cuts and accumulation of Pb in the tissues will be discussed also.

1. **Candidate structural materials for a nuclear reactor cooling circuit**

Molten LiF-NaF, LiF-NaF-ZrF4 salts are examined as a cooling medium in Molten Salts Reactor system (MSR). This new type of nuclear power plant provides greater safety and economic of whole system. The structural materials need to be resistant to high temperatures (~500°C) and extremely corrosive environment, which molten fluoride salts represent.

Different types of structural materials were examined (pure Ni, Ni based alloys, pure Fe with Ni-coating). Tested materials were exposed to molten fluoride salt treatment at temperature of 680°C. Parts of studied materials were cut out, polished by diamond paste and embedded into epoxy resin. The material corrosion changes were studied by mapping the sections of sample walls.

Quantification procedure with external calibration standards is not possible in case of corroded sample due to different ablation rate, hence normalization method which uses a total sum of signals of isotopes was employed. Fluorine signal was calculated from stoichiometry of fluoride salts and Na, Li, Zr counts. Thickness of affected surface was determined and created 2D maps show constituent elements decrease (in case of Li, Na, Zr increase) in the sample (i.e. corrosion). Penetration of molten salts into specimen material was proved.

1. **Tapeworm tissues**

Small terrestrial rodents have been used in the monitoring of environmental pollution by heavy metals for a long time. Certain parasites are able to accumulate considerable concentration of some elements more effectively than the host tissues. Bioaccumulation of heavy metals (Pb, Zn, Cu) in tapeworm *Hymenolepis diminuta* was studied. Laboratory rats *Rattus norvegicus* were infected and their diet was supplemented with Pb(C2H3O2)2. The tapeworm strobilae were separated and analyzed by means of laser ablation inductively coupled plasma mass spectrometry (LA-ICP-MS). Optimization of laser ablation parameters (repetition rate, fluence, laser spot diameter, scan speed) was performed. Under optimized conditions the tapeworm cuts were analyzed and elemental maps were created.

[1] A Technology Roadmap for Generation IV nuclear system, GIF-002-00, December 2002.

[2] Olson L.C. et al.: Materials corrosion in molten LiF-NaF-KF salt, *Journal of Fluorine Chemistry* **130,** 67-73 (2009).

[3] Latkoczy Ch., Müller Y., Schmutz P., Günther D.: Quantitative element mapping of Mg alloys by laser ablation ICP-MS and EPMA, *Applied Surface Science* **252**, 127-132 (2005).

[4] Anderson T.J., Barrett G.W., Clark C.S., Elia V.J., Majeti V.A., Metal concentrations in tissues of meadow voles from sewage sludge-treated fields, *Journal of Environmental Quality* **11,** 272-277 (1982).

[5] Sures B., Siddall R., Taraschewski H., Parasites as accumulation indicators of heavy metal pollution, *Parasitology Today* **15,** 16-21 (1999).

The authors acknowledge the European Regional Development Fund project “CEITEC” (CZ.1.05/1.1.00/02.0068), Czech Science Foundation project 101/08/1100, Czech Science Foundation GA13-18154S and Student Project Grant at MU (specific research, rector's programme) - Category A (MUNI/A/0992/2009).