## Slide 1: Bi9393 Analytická cytometrie
Oddělení cytokinetiky
Biofyzikální ústav AVČR, v.v.i.
Královopolská 135
612 65 Brno
e-mail: ksoucek@ibp.cz
tel.: 541 517 166
Karel Souček, Ph.D.
K. Souček Bi9393 Analytická cytometrie

## Slide 2: Co je problém při vícebarevné detekci?
K. Souček Bi9393 Analytická cytometrie

## Slide 3
Emission Spectra–Spectral Overlap

## Slide 4: Kompenzace fluorescenčního signálu při vícebarevné detekci
Proces při kterém dochází k eliminaci všech fluorescenčních signálů kromě signálu z fluorochromu který má být na příslušném detektoru detekován
Nastavení pomocí mixu mikročástic či buněk označených/neoznačených příslušnými fluorochromy.
K. Souček Bi9393 Analytická cytometrie

## Slide 5: Co je problém při vícebarevné detekci?
K. Souček Bi9393 Analytická cytometrie

## Slide 6: Kompenzace fluorescenčního signálu při vícebarevné detekci
K. Souček Bi9393 Analytická cytometrie

## Slide 7
“Bright” = good resolution sensitivity

## Slide 8
Various fluorochromes-stain index

## Slide 9
Choices for 6,- 8,- 10,- and more colors

## Slide 10
Fluorochrome selection considerations

## Slide 11
FITC Spillover
650nm
700nm
PerCP-Cy5.5
695/40
500nm
600nm
FITC
530/30
Relative Intensity
Wavelength (nm)
550nm
PE
585/42
750nm
800nm

## Slide 12
FITC Compensation
650nm
700nm
PerCP-Cy5.5
695/40
500nm
600nm
FITC
530/30
Relative Intensity
Wavelength (nm)
550nm
PE
585/42

## Slide 13
FITC Compensation
650nm
700nm
PerCP-Cy5.5
695/40
500nm
600nm
FITC
530/30
Relative Intensity
Wavelength (nm)
550nm
PE
585/42

## Slide 14
FITC Compensation
Dot plot showing uncompensated FITC data
Dot plot showing compensated FITC data
Biexponential dot plot showing compensated FITC data

## Slide 18: Kompenzace fluorescenčního signálu
K. Souček Bi9393 Analytická cytometrie
FITC positive & negative
PE negative beads
#2

## Slide 19: Kompenzace fluorescenčního signálu
K. Souček Bi9393 Analytická cytometrie
FITC positive & negative
PE negative beads
NONE!

## Slide 20: Kompenzace fluorescenčního signálu

## Slide 21: Nastavení kompenzací
parametr - detektor amp.
FL1 - 544
FL2 - 434
kompenzace
FL1 - 1.1%FL2
FL2 - 17.5%FL1
značené mikročástice – pro běžně konjugované fluorochromy
značené buňky – pro vitální značení

## Slide 22
Effects of Changing PMT Values
FITC Voltage Increased by 5 V
FITC Voltage Decreased by 5 V
Correct Compensation

## Slide 23
Which marker for compensation?
Small errors in compensation of a dim control (A) can result in large compensation errors with bright reagents (B & C).
Use bright markers to setup proper compensation.

## Slide 24
BD Comp Beads
Always positive
Bright staining
Save sample (HIV patients)
Use the same antibody for compensation and the real experiment

## Slide 25
BD Comp Beads

## Slide 26
PBMC were stained as shown in a 3-color experiment. Compensation was properly set for all spillovers
Courtesy Mario Roederer
Fluorescence Minus One

## Slide 27: Tandemové značky

## Slide 28: Tandemové značky - příklad

## Slide 29
Tandems are light sensitive
0 hours
2 hours
22.5 hours
PE
(FL2)
CD8
CD3
PE-Cy5
PE-Cy7
Time Sample Left in Light

## Slide 30: Kompenzace - literatura
Mario Roederer - Compensation in Flow Cytometry
Current Protocols in Cytometry (2002) 1.14.1-1.14.20 John Wiley & Sons, Inc.
M. Loken, D. R. Parks, & L. A. Herzenberg (1977). Two-color immunofluorescence using a fluorescence-activated cell sorter. J. Histochem. Cytochem. 25:899-907. M. Roederer & R. F. Murphy (1986). Cell-by-cell autofluorescence correction for low signal-to-noise systems: application to EGF endocytosis by 3T3 fibroblasts. Cytometry 7:558-565. S. Alberti, D. R. Parks, & L. A. Herzenberg (1987). A single laser method for subtraction of cell autofluorescence in flow cytometry. Cytometry 8:114-119. C. B. Bagwell & E. G. Adams (1993). Fluorescence spectral overlap compensation for any number of flow cytometry parameters. in: Annals of the New York Academy of Sciences, 677:167-184.
K. Souček Bi9393 Analytická cytometrie

## Slide 31: Aplikace průtokové cytometrie

## Slide 32
ANALÝZA NUKLEOVÝCH KYSELIN
buněčný cyklus a ploidyta
analýza zlomů DNA
inkorporace BrDU
exprese cyklinů
analýza denaturace DNA
ANALÝZA BUNĚČNÉHO FENOTYPU
imunofenotypizace pomocí CD antigenů
(detekce diferenciačních a nádorových markerů)
detekce cytokinových receptorů
CYTOGENETIKA
analýza chromozómů
STUDIUM BUNĚČNÝCH FUNKCÍ
viabilita
stanovení intracelulárního pH
analýza organel a cytoskeletu
stanovení membránového potenciálu
oxidativní vzplanutí
stanovení intracelulárního Ca2+
stanovení intracelulárních cytokinů
Natural Killer ligace značených buněk
analýza reportérových genů
K. Souček Bi9393 Analytická cytometrie

## Slide 33: Biologické aplikace průtokové cytometrie
analýza proliferace
fluorescenční proteiny
K. Souček Bi9393 Analytická cytometrie

## Slide 34: Buněčný cyklus

## Slide 36: Co je důležité při přípravě vzorku a značení…
Postup přípravy vzorku a značení nelze zobecnit – závisí na typu buněk a konkrétní analýze
  suspenze jednotlivých buněk
  vitální značení
  fixace (etanol, formaldehyd)
  permeabilizace (detergenty)
  difúze
  aktivní transport

## Slide 37
Analýza buněčného cyklu
jedna z nejstarších aplikací flow cytometrie, stanovení fáze buněčného cyklu podle množství DNA
průtoková cytometrie je vhodná metoda pro rychlou a přesnou determinaci buněčného cyklu
jednoduchým způsobem je DNA obarvena fluorescenční barvou specifickou pro DNA.
Propidium iodide
4′,6-diamidino-2-phenylindole (DAPI)
- dramaticky zvyšují fluorescenci po vazbě na DNA. Je nutná permeabilizace cytoplasmatické membrány .
Hoechst 33342
Vybrant® DyeCycle™
DRAQ5
Quaternary benzo[c]phenanthridine alkaloids (QBAs)
I. Slaninova, J. Slanina and E. Taborska, "Quaternary benzo[c]phenanthridine alkaloids--novel cell permeant and red fluorescing DNA probes," Cytometry A, vol. 71, no. 9, pp. 700-708, 2007.
- mohou být používány pro značení viabilních buněk.
K. Souček Bi9393 Analytická cytometrie

## Slide 38
G2
M
G0
G1
s
0
200
400
600
800
1000
G0
G1
s
G2
M
DNA Analysis
DNA content
Count
2N
4N
Normal Cell Cycle
Purdue University Cytometry Laboratories
- propidium iodide
- DAPI
- Hoechst 33342
- 7-AAD

## Slide 39: Analýza histogramu buněčného cyklu
nepoužívá se běžná analýza pomocí úseček (regionů) v histogramu
je nutné používat speciální software pro modelovaní analýzu distribuce jednotlivých fází

## Slide 43
Cell cycle histogram: gating strategy

## Slide 45
Detekce buněk v synchronizovaném buněčném cyklu

## Slide 46
File analyzed: SAMPLE2.FCS
Date analyzed: 16-Oct-2006
Model: 2DA0n_DSD_ASD
Analysis type: Automatic analysis
Diploid: 57.22 %
Dip G1: 70.35 % at 75.05
Dip G2: 5.60 % at 150.10
Dip S: 24.05 % G2/G1: 2.00
%CV: 3.02
Aneuploid 1: 42.78 %
An1 G1: 83.63 % at 100.15
An1 G2: 5.87 % at 200.30
An1 S: 10.50 % G2/G1: 2.00
%CV: 5.02 DI: 1.33
Total Aneuploid S-Phase: 10.50 %
Total S-Phase: 18.25 %
Total B.A.D.: 11.22 %
Debris: 19.13 %
Aggregates: 3.96 %
Modeled events: 31253
All cycle events: 24037
Cycle events per channel: 190
RCS: 0.842
Aneuploidie je významný diagnostický marker

## Slide 47: Analýza ploidity u vyšších rostlin
http://en.wikipedia.org/wiki/Image:Native_American_tobacco_flower.jpg
Alstroemeria caryophyllacea
Nicotiana tabacum
http://en.wikipedia.org/wiki/Image:Corntassel_7095.jpg
Zea mays
endosperm 28 dní po opylení

## Slide 48
Cell cycle analysis- limitations

## Slide 49
Analýza inkorporace BrdU
K. Souček Bi9393 Analytická cytometrie
bromodeoxyuridin se inkorporuje do DNA namísto tymidinu během S-fáze
po fixaci a částečné denaturaci DNA je možné BrdU detekovat pomocí specifické protilátky značené fluorochromem
v posledním kroku můžeme obarvit DNA

## Slide 50
Analýza inkorporace BrdU
K. Souček Bi9393 Analytická cytometrie

## Slide 51: Click azide/alkyne reaction

## Slide 52: Aplikace Click-IT (Invitrogen)
Multiplex imaging with Click-iT® RNA assays. NIH3T3 cells were incubated with 1 mM EU, formaldehyde-fixed, and permeabilized with Triton® X-100. EU incorporated into newly synthesized RNA (red) in some cells was detectied using the Click-iT® RNA Alexa Fluor® 594 Imaging Kit. Tubulin (green) was detected with anti-tubulin mouse IgG9 and visualized with Alexa Fluor® 488 goat anti-mouse IgG. Nuclei (blue) were stained with Hoechst 33342.

## Slide 53: Aplikace Click-IT (Invitrogen) analýza syntézy DNA (proliferace)

## Slide 54
Tritiated (3H) thymidine
3H-thymidine

## Slide 55
Original method for measuring cell proliferation
Radioactive
Not compatible for multiplexed analyses
3H-thymidine

## Slide 56
BrdU (5-bromo-2'-deoxyuridine)
BrdU
Br
Br
Br
Br

## Slide 57
Br
Br
Br
Br
BrdU

## Slide 58
Acid or DNase
Br
Br
Br
Br
BrdU

## Slide 59
Br
Br
Br
Br
BrdU

## Slide 60
Br
Br
Br
Br
BrdU
Non-radioactive
Multiplex compatible but, strand separation requirement for anti-BrdU access, can affect:
  Ability for other antibodies to bind
  Morphology
  Ability for dyes that require dsDNA to bind efficiently, i.e., cell cycle dyes

## Slide 61
EdU (5-ethynyl-2'-deoxyuridine)
Click-iT™ EdU

## Slide 62
Click-iT™ EdU

## Slide 63
Click-iT™ Edu
Non-radioactive
No DNA denaturation required
Simplified protocol
Small molecule detection
Multiplex compatible, including
  Other antibodies
  Dyes for cell cycle analysis

## Slide 64: Analýza DNA a RNA
Pyronin Y vs. Hoechst 33342
- Pyronin interaguje s ds RNA a DNA ale jeho vazba na DNA je inhibována přítomností Hoechst 33342
Acridine orange
- při interakci s RNA emituje červené světlo a při interakci s DNA zelené

## Slide 67: Detekce intracelulárních proteinů v kombinaci s detekcí DNA

## Slide 68: Detekce mitotických buněk
Histone H3 je specificky fosforylován během mitózy (Ser10, Ser28, Thr11)
dvojité značení DNA vs. H3-P identifikuje populaci buněk v M-fázi

## Slide 69: Flow cytometry most common applications
Viability assays (propidium iodid, Calcein AM, …)
Proliferation (BrdU, EdU, mitosis - pH3)
DNA damage ( yH2AX,…)
Cell Death analysis (AnnexinV, Cleaved Caspase3, …)
Cell Cycle (DNA content, Cell cycle modulation after treatment)
Immunophenotype characterisation of the cells
(CSCs markers, differentiation, …)

## Slide 70
IMMUNOPHENOTYPING
Principle: cells are stained with monoclonal antibodies conjugated to various fluorescent dyes and analyzed with using flow cytometry
Pros: simple, standard, broad spectrum of tested reagents, multiplexing
Cons: not every epitope is fixable, compensation, possible artefacts from dying cells, dissociation of solid tissue may affect results
Ermann, J. et al. (2015) Immune cell profiling to guide therapeutic decisions in rheumatic diseases
Nat. Rev. Rheumatol. doi:10.1038/nrrheum.2015.71

## Slide 71
VIABILITY using LIVE/DEAD fixable stains
Principle: reaction of a fluorescent reactive dye with cellular amines, in necrotic cells react with free amines both in the interior and on the cell = intense staining, live cells stained on surface only = dim signal
Pros: simple, wide spectrum of dyes, fixable, The ArC™ Amine Reactive Compensation Bead Kit
Cons: live cells have signal, stain only in buffers w/o BSA or serum, Tris or azide

## Slide 72
Principle: DNA content measurement by fluorescent nucleic-acid-binding dyes
Pros: simple, wide spectrum of dyes, in both native and fixed samples
Cons: doublets > G2/M, single parameter≠ DNA synthesis, > CV if not fixed by organic solvents
CELL CYCLE

## Slide 73
DNA SYNTHESIS using click azide/alkyne reaction
Principle: direct measurement of DNA synthesis via visualization of incorporation of nucleoside analogue
Pros: no DNA denaturation required, simplified protocol, small molecule detection, multiplex compatible
Cons: high concentration of Cu in reaction = not compatible with all fluorochromes
5-Ethynyl-2'-deoxyuridine
alkyne
azide
triazol

## Slide 74
DNA DAMAGE using γH2A.X
Principle: Phosphorylation of the Ser-139 residue of the histone variant H2A.X, forming γH2A.X, is an early cellular response to the induction of DNA double-strand breaks
Pros: in theory simple immuno-staining after fix&perm
Cons: DSBs can also be intrinsic, occurring in healthy, nontreated cells, DSBs are formed in the course of DNA fragmentation in apoptotic cells
Huang X, Darzynkiewicz Z: Cytometric Assessment of Histone H2AX Phosphorylation. In DNA Repair Protocols: Mammalian Systems. Edited by Henderson DS. Totowa, NJ: Humana Press; 2006: 73-80
CTRL
GEM

## Slide 75
APOPTOSIS detected via PARP cleavage or caspase-3 activation
Principle: Cleaved Caspase-3 (Asp175) Antibody detects endogenous levels of the large fragment (17/19 kDa) of activated caspase-3. Cleaved PARP (Asp214) detects endogenous levels of the large fragment (89 kDa) PARP1 protein produced by caspase cleavage.
Pros: simple immuno-staining after fix&perm, validated antibodies available
Cons: not every cell type or signal necessary activates cp-3 or leads to PARP cleavage, timing
Untreated
MG-132

## Slide 76: Workflow
Possible issues
Need of optimization
Incompatibility of Fluorochrome with Click-iT reaction
Permeabilization
Over cross-linked
Insufficient/too high concentration
Sufficient permeability
Antibody/ marker selection
Compatibility with other fluorochromes
Sufficient permeability
Antibody specificity

## Slide 77: Permeabilization
Goal: Sufficient for intracellular markers, gentle for surface markers
DNA damage – yH2AX
Apoptosis - Cleaved Caspase 3
Surface marker – Trop-2
Trop-2 BV421
Trop-2 BV421
Trop-2 BV421
Trop-2 BV421
85,9 %
75,6 %
75,3 %
59,2 %
78,8 %
34,6 %
25,9 %
19,5 %
92,0 %
75,2 %
80, 8 %
83,8%
The best solution: 0,25% Triton x-100
DMSO
MG-132
MG-132
DMSO
DMSO

## Slide 78: DNA stain
Violet laser DAPI, Hoechst 33342
FxCycle Violet, …
Blue laser Vybrant Dyes, PI, …
Red laser FxCycle Far Red
  7-AAD
Broad spectrum of the dyes
Problems:
High concentration of dye, no wash
Spillover & Compensations

## Slide 79
Compensation
Antibody conjugates:
anti-rat and anti-hamster Igκ/negative control compensation beads (BD Biosciences),
SpheroTM Biotin Polystyrene Particles (Spherotech, Lake Forest, IL, USA)
Live/Dead fixable dyes:
ArcTM Amine Reactive Compensation Bead Kit beads (Thermo Fisher Scientific)
DNA stain:
fixed and permeabilized cells with/without appropriately diluted DNA probe
Isotype controls were recorded for all samples. Gates were set according to isotype controls and control untreated cells (for γH2AX and cleaved caspase-3)
Gating strategy included viability, discrimination of doublets (FSC-H vs. FSC-A) and debris (FSC vs. SSC). In samples with DNA marker, doublets we further discriminated using DNA marker (PO-PRO-1 A vs. PO-PRO-1 W) .
In the process of protocol optimization, FMO controls were measured and revealed DNA dye spillover.

## Slide 80: Example of final set-up
Parametr | Marker | Fluorochrome
Cell Surface Marker | CD44 | APC/Cy7
Cell Surface Marker | Trop-2 | AF488
Viability | LIVE/DEAD kit | Yellow
DNA synthesis | Click-iT EdU | AF647
Cell Cycle | DNA content | PO-PRO-1
DNA damage | yH2AX | PE
Apoptosis | Cleaved Caspase 3 | AF494

## Slide 81: Flow Cytometric Multiparametric Assay was established
Surface Markers
DNA synthesis
DNA damage
Apoptosis
Viability
Cell Cycle

## Slide 82: Examination of small subpopulation (Trop-2+) in response to experimental treatment

## Slide 83: Detekce počtu buněčného dělení

## Slide 84: The Nobel Prize in Chemistry 2008
"for the discovery and development of the green fluorescent protein, GFP"
http://nobelprize.org/nobel_prizes/chemistry/laureates/2008/

## Slide 85: Fluorescenční proteiny
bioluminescence resonance energy transfer (BRET)
  Aequorea victoria - medúza žijící ve vodách na pobřeží Severní Ameriky.
  je schopna modře světélkovat (bioluminescence). Ca2+ interaguje s fotoproteinem aequorinem.
  modré světlo excituje green fluorescent protein.
  Renilla reniformis – korál žijící ve vodách na severním pobřeží Floridy.
  luminescence vzniká degradací coelenterazinu za katalytického působení luciferázy.
  modré světlo excituje green fluorescent protein.
Renilla reniformis "Sea Pansy"
http://www.mbayaq.org/efc/living_species/default.asp?hOri=1&inhab=440
Aequorea victoria “Crystal jelly “
http://www.whitney.ufl.edu/species/seapansy.htm

## Slide 86: Fluorescenční proteiny
Osamu Shimomura
  1961 objevil GFP a aequorin
http://www.conncoll.edu/ccacad/zimmer/GFP-ww/GFP2.htm

## Slide 87
Science. 1994 Feb 11;263(5148):
Green fluorescent protein as a marker for gene expression.
Chalfie M, Tu Y, Euskirchen G, Ward WW, Prasher DC.
Department of Biological Sciences, Columbia University, New York, NY 10027.
A complementary DNA for the Aequorea victoria green fluorescent protein (GFP) produces a fluorescent product when expressed in prokaryotic (Escherichia coli) or eukaryotic (Caenorhabditis elegans) cells. Because exogenous substrates and cofactors are not required for this fluorescence, GFP expression can be used to monitor gene expression and protein localization in living organisms.
Fluorescenční proteiny
Douglas Prasher
Martin Chalfie

## Slide 88: Fluorescenční proteiny
http://www.conncoll.edu/ccacad/zimmer/GFP-ww/GFP2.htm

## Slide 89: in vivo molekulární vizualizace
Hasegawa, S., Yang, M., Chishima, T., Miyagi, Y., Shimada, H., Moossa, A. R., and Hoffman, R. M. In vivo tumor delivery of the green fluorescent protein gene to report future occurrence of metastasis. Cancer Gene Ther, 7: 1336-1340, 2000.
KODAK X-SIGHT 640 LSS Dyes in vivo with x-ray overlay
KODAK X-SIGHT 650 and 761 Nanospheres, KODAK In-Vivo Multispectral Imaging System

## Slide 90: Fluorescenční proteiny
Sergey A. Lukyanov
  Objevil „GFP-like“ proteiny u nesvětélkujících korálů

## Slide 91: Roger Tsien
~ 2002 – mutace FP = barevné spektrum
http://www.tsienlab.ucsd.edu/

## Slide 94
Detekce buněk v synchronizovaném buněčném cyklu

## Slide 95: Licensing control by Cdt1 and geminin
J Cell Sci 2012 125: 2436-2445; doi: 10.1242/jcs.100883

## Slide 96: Fucci (fluorescent ubiquitination-based cell cycle indicator) cells
Ubiquitin E3 ligase complexes
G1 - APCCdh1
substrate: Geminin, inhibitor of DNA replication inhibits Cdt1
S, G2, M- SCFSkp2
substrate: DNA replication factor Cdt1 – key licensing factor
Fucci sensors - 1st generation, coral FP
monomeric Kusabira orange 2 – hCdt1 (30/120)
Monomeric Azami-Green – hGeminin (1/110)
Fucci sensors – 2nd generation, Aequorea FP
red monomeric fluorescent protein - mCherry -hCdt1 (30/120)
yellowish green monomeric variant of GFP –mVenus – hGeminin (1/110)

## Slide 97: Fucci
http://cfds.brain.riken.jp/Fucci.html

## Slide 99
CONTROL
SCH900776
MU380
VEHICLE
GEMCITABINE

## Slide 100: …lot of questions, but how to answer them?
How many times cells divided?
What is a length of cell cycle phases?
Is there a difference in time between first and second division?
How it is all affected by my drugs?

## Slide 101
SOLUTION (Milan_TrackMate_(Fiji)
+

## Slide 102
Branches (dvisions) analysis
02_02_01_01

## Slide 103
Median 14 hours
02_02_01_01

## Slide 105
shRNA for TTL
Ventura, Meissner, Dillon, McManus, Sharp, Van Parijs, Jaenisch and Jacks .
PNAS 2004 “Cre-lox regulated conditional RNA interference from transgene”.
shRNA elements:
TTL-1
tgcatcaaataagcatgagattccaagagatctcatgcttatttgatgcttttttcacgtagtttattcgtactctaaggttctctagagtacgaataaactacgaaaaaagagct
TTL-2
tggcaacgtttggattgcaattccaagagattgcaatccaaacgttgccttttttcaccgttgcaaacctaacgttaaggttctctaacgttaggtttgcaacggaaaaaagagct

## Slide 106
Pz-HPV-7 cells - shRNA for TTL
(Lentivirus infection)

## Slide 109: biarsenical–tetracysteine system
Nefluorescenční, membránově permeabilní biarsénová značka vytváří kovalentní fluorescenční komplex s jakýmkoliv intracelulárním proteinem obsahujícím krátký tetracysteinový motiv (CCPGCC)

## Slide 110: biarsenical–tetracysteine system

## Slide 111: Shrnutí přednášky
analýza proliferace
fluorescenční proteiny
Na konci dnešní přednášky byste měli:
vědět jakým způsoben je možné analyzovat buněčný cyklus.
umět navrhnout další parametr kombinovatelný s DNA analýzou.
znát příklady buněčných funkcí které je možné analyzovat na průtokovém cytometru.
vědět co jsou to fluorescenční proteiny a jaké jsou výhody jejich využití v buněčné biologii.
co je to click-IT.
K. Souček Bi9393 Analytická cytometrie