## Results by plate
| C K | C wnt | C rsp | C wnt+rsp | D K | D wnt | D rsp | D wnt+rsp
FF | 317 | 324 | 887 | 14375 | 438 | 1002 | 1115 | 30711
R | 7720 | 28621 | 43656 | 53949 | 89147 | 96750 | 79124 | 106546
FF/R | 0.041062 | 0.01132 | 0.020318 | 0.26646 | 0.0049132 | 0.010357 | 0.014092 | 0.28824
na K | 1 | 0.27569 | 0.49481 | 6.4891 | 1 | 2.108 | 2.8683 | 58.6692

## Results by well
Tomas TopFlash
2019-11-05 10:20
Assay was completed successfully.
Results
Well | Sample | Luminescence (CPS)
A1 | A1 | 7720
A2 | A2 | 28621
A3 | A3 | 43656
A4 | A4 | 53949
A5 | A5 | 89147
A6 | A6 | 96750
A7 | A7 | 79124
A8 | A8 | 106546

## Replicate statistics
Tomas TopFlash
2019-11-05 10:20
Assay was completed successfully.
Replicate statistics
Luminescence
Luminescence (CPS)
Sample | Dilution | N | CV | Mean
A1 | All | 1 | 0% | 7720
A1 | 1:1 | 1 | 0% | 7720
A2 | All | 1 | 0% | 28621
A2 | 1:1 | 1 | 0% | 28621
A3 | All | 1 | 0% | 43656
A3 | 1:1 | 1 | 0% | 43656
A4 | All | 1 | 0% | 53949
A4 | 1:1 | 1 | 0% | 53949
A5 | All | 1 | 0% | 89147
A5 | 1:1 | 1 | 0% | 89147
A6 | All | 1 | 0% | 96750
A6 | 1:1 | 1 | 0% | 96750
A7 | All | 1 | 0% | 79124
A7 | 1:1 | 1 | 0% | 79124
A8 | All | 1 | 0% | 106546
A8 | 1:1 | 1 | 0% | 106546

## Info
Tomas TopFlash
2019-11-05 10:20
Assay was completed successfully.
Info
Instrument
Instrument serial number | 3180172
Instrument firmware version | 103
Software
Version | 0.5.54.0
Plate
Wells | 96 (8x12)
Manufacturer | General
Name
A1 offset (µm) | 14380,11240
Well distance (µm) | 9000
Well diameter (µm) | 6500
Operations
Luminescence
Technology | Luminescence
Filter | IR Cutoff
Counting time (s) | 1
Aperture | Default
Read mode | Top
Focus (mm) | Default
PMT voltage | Default
Discriminator voltage | Default