## Slide 1
Protein characterization by mass spectrometry
C7250
Part I
Zbyněk Zdráhal
RG Proteomics, CEITEC-MU
Proteomics CF, CEITEC-MU
NCBR FS MU
zdrahal@sci.muni.cz
Functional Genomics and Proteomics
National Centre for Biomolecular Research
Faculty of Science · Masaryk University

## Slide 2
Zbyněk Zdráhal
Phone: +420 777 926 602
E-mail: zbynek.zdrahal@ceitec.muni.cz
CF: www.ceitec.eu/proteomics-core-facility/cf95
RG: www.ceitec.cz/proteomika-zbynek-zdrahal/rg49

## Slide 3
C7250
Aims of course:
    applications/potential of mass spectrometry in proteomics
    basic approaches of MS analysis
    „interpretation/validity“ of MS results
MS
Core Lab

## Slide 5
Proteins are responsible for both the structure and the functions of all living organisms.
Genes are simply the instructions for making proteins.
http://www.biology-pages.info/P/Proteomics.html
C7250
IT IS PROTEINS THAT MAKE LIFE.

## Slide 6
http://en.wikipedia.org/wiki/File:Metabolomics_schema.png
C7250

## Slide 7
Genomics
Transcriptomics
Proteomics
DNA
protein
functional
protein
mRNA
posttranslational mods
Protein complexes
transcription
posttranscriptional modifications
(alternative splicing etc.)
translation
Proteomics – discipline dealing with proteome analysis
what might happen
what is really happening
C7250

## Slide 8
Proteomics - Why?
several proteins/proteoforms might form from each gene, not possible to
indicate them by DNA/RNA analysis
there no direct correlation between mRNA content and final content of
proteins
functionality of protein depends frequently on its interaction with other
proteins or DNA/RNA
only at protein level epigenetics factors of gene expression regulation are
detectable
C7250

## Slide 10
proteotype
the complement of proteins expressed in a cell, tissue, or organism by a genome
the entire complement of proteins found in an organism over its entire life cycle, or in a particular cell type at a particular time under defined environmental conditions.
The entire set of proteins expressed by a genome, cell, tissue or organism at a certain time. More specifically, it is the set of expressed proteins in a given type of cell or organism, at a given time, under defined conditions.
the word “proteome” is derived from PROTEins expressed by a genOME, and it refers to all the proteins produced by an organism
Marc Wilkins in 1994
Proteome
C7250
The Desperate Man, Gustave Courbet

## Slide 11
the same genome
different proteome
Genome vs Proteome
static
dynamic
C7250

## Slide 12
Genome versus Proteome
relatively stable all proteins including
DNA sequence all their forms in cell (tissue, organisms) at given time under given conditions
4 basic building units 20 (22) basic building units
range of concentrations over 10 orders
efficient analytical techniques necessity of development of developed (PCR, NGS) sensitive and reliable techniques for identification and quantitation
C7250

## Slide 13
http://www.piercenet.com/method/overview-post-translational-modification
Genome vs Traskriptome vs Proteome
Estimates for human
C7250

## Slide 14
Aebersold R. et al, Nat. Chem. Biol., 14, 206–214 (2018)
Proteome complexity
74 unique histone H4 proteoforms out of 3 000 000 theoretically possible (based on known PTMs) were detected in differentiating human embryonic stem cells.
Phanstiel D. et al, PNAS, 105, 4093–4098 (2008)
The nature behaves rationally or technologies are still not developed enough
C7250

## Slide 15
Proteomics is the large-scale study of proteins, particularly their structures and functions.
Proteomics has been enabled by the accumulation of :
DNA and protein sequence databases
improvements in mass spectrometry
computer algorithms for database searching.
The first is the more classical definition, restricting the large-scale analysis of gene products to studies involving only proteins.
The second and more inclusive definition combines protein studies with analyses that have a genetic readout such as mRNA analysis, genomics, and the yeast two-hybrid analysis (Pandey A, Mann M Nature. 2000 Jun 15; 405(6788):837-46)
Proteomics
protein
protein
protein
protein
protein-X
protein
protein
protein
protein
protein
protein
protein
protein
protein
YY-protein
protein
protein
protein
protein
W-protein-Z
protein
protein
protein
proteom
protein
protein
protein
protein
protein
protein
protein
protein
protein
C7250

## Slide 16
https://gold.jgi.doe.gov/
Increase in knowledge of genomes
protein characterization by MS is in principle based on knowledge of primary sequence
C7250
UniProtKB ~220 mil. sequences

## Slide 17
C7250
Single cell proteomics
Mass spectrometry technology progress
HeLa cells, FACS, LC-MS/MS (TimsTOF Pro)
Brunner A.-D. et al. bioRxiv (2021), https://doi.org/10.1101/2020.12.22.423933
0,8 ng of digest ~ 3 HeLa cells

## Slide 18
mass spectrometry
MS
enables simultaneous qualitative and quantitative characterization of thousands of proteins
Analysis of „proteome“
C7250

## Slide 19
Protein quantification
(relative and absolute quantification)
Protein identification
(incl. protein complexes, de novo sequencing)
Intact mass analysis
(MW, MALDI-MS profiling)
Characterization of protein modifications
Sphos
m/z
D m/z = 167
Mass spectrometry in proteomics
C7250
MALDI-MS imaging,
3D structure

## Slide 20
Proteomic approaches
Differential (expression) proteomics
Functional proteomics
Structural proteomics
C7250

## Slide 21
control
stress
Rhodotorula glutinis
Cooperation with prof. Márová, FCH BUT Brno
Differential (expression) proteomics
Qualitative and quantitative comparison of proteomes
aim – determination of changes at protein (and their forms
(e.g. PTMs)) levels
which were induced by internal or extermal stimuli.
C7250

## Slide 22
Differential proteomics
Targeted approach
Monitoring of quantitative changes of selected proteins (e.g. biomarkers) in sample sets.
internal std
real
LC-MS/MS (MRM, PRM)
MS
MS/MS
real
is
Determination of enterotoxin (S. aureus)
C7250

## Slide 23
Study of interactions of proteins and their functional context
- protein-protein interactions
- architecture of protein complexes
- protein interactions with other types of molecules (RNA, DNA
metabolites ...)
Functional proteomics
K.G. Guruharsha et al., Cell, 147, 690–703 (2011)
L. Kozakova et al.,
Cell Cycle, 14 (6), 920-930 (2015)
C7250

## Slide 24
Study of higher levels of protein structure (tertiary, quaternary) and relation of a structure to protein function.
Structural proteomics
Structure is formed by different types of bonds – ion interactions, hydrogen bridges, van der Waals forces or disulfidic bridges.
C7250
X-ray crystalography
NMR
cryoEM
MS (in minority)

## Slide 25
MS instrumentation
and
proteins
Functional Genomics and Proteomics
National Centre for Biomolecular Research
Faculty of Science Masaryk University

## Slide 26
Thomson's investigations into the action of electrostatic and magnetic fields on the nature of so called "anode rays" or "canal rays" would eventually result in the invention of the mass spectrometer (then called a parabola spectrograph) by Francis Aston (Nobel Prize for Chemistry 1922), a tool which allows the determination of the mass-to-charge ratio of ions and which has since become an ubiquitous research tool in Chemistry.
Thomson J.J. (1856 – 1940)
On the Masses of the Ions in Gases at Low Pressures
Philosophical Magazine, 1899, 48:295, p.547-567
1906 – Nobel prize for physics
for theoretical and experimental investigations on the conduction of electricity by gases
J.J. Thomson working with his cathode ray tube
History of mass spectrometry
„ ... By this means there is attained what is known as a mass spectrogram, that is to say a series of lines in which each line corresponds to a certain atomic weight.“
Dr. H.G. Soderhaum - 1922
C7250
Eight of his students and his son also became Nobel Prize winners

## Slide 27
The first Czech mass spectrometer - 1953
V. Čermák, V. Hanuš, Č. Jech, J. Cabicar
by courtesy of dr. M. Polášek
C7250
History of mass spectrometry

## Slide 28
Mass spectrometry- today
Benchtop LC-MS/MS system
ion trap LTQ Velos (Thermo)
High resolution hybrid mass spectrometer Orbitrap Fusion™ Lumos™ Tribrid™ (Thermo)
C7250

## Slide 29
Mass spectrometry
principle:
measurement of ratio of relative molecule mass and charge number (m/z) of ions of analyzed compounds
m – ion mass
z – number of charges
basic steps:
    ionization of molecules of analyzed compounds
    ion separation according to their m/z
    ion detection
result:
  mass spectrum – dependence of ion intensity vs its m/z
  thus determination of ion mass
  in case of a molecular ion
  molecular mass
2955
m/z
a.i.
Da
ion
source
mass
analyzer
Detector
vacuum
vacuum
C7250

## Slide 30
Why vacuum in MS
C7250
The mean free path of a molecule
the average distance the molecule travels between two consecutive collisions with other moving particles
example: N2 molecules
free mean path (m)
pressure (Torr)
adopted from presentation of dr. M. Polášek
to prevent ions from unwanted collisions during their way from ion source to detector

## Slide 32
Ionization techniques
Functional Genomics and Proteomics
National Centre for Biomolecular Research
Faculty of Science Masaryk University

## Slide 33
New „soft“ ionization techniques - ESI and MALDI
basic prerequisite for wide use of MS in biomolecule analysis
(Nobel prize 2002)
MALDI
matrix-assisted laser desorption/ionization
most often in combination with time-of-flight mass analyzer - TOF
(MALDI-MS, MS/MS)
ESI
electrospray ionization
usually in combination with ion trap and hybrid mass spectrometers
(IT, QQQ, QTOF, IT-Orbitrap, IT-ICR etc.)
-
-
-
-
-
C7250

## Slide 34
MALDI
Desorption-ionization process
pictures by courtesy of Dr. Sauerland (Bruker)
Soft ionization without fragmentation
Simple spectra
Sample storage on sample target
C7250
matrix is low mass compound capable to absorb laser radiation
e.g. Dihydroxybenzoic acid (for UV laser)

## Slide 35
Sample target for MALDI-MS Ultraflextreme (Bruker)
C7250
386 positions
Sample spot with DHB matrix

## Slide 36
MALDI – ionization
C7250
First part, cca 30s

## Slide 37
MALDI-TOF spectrum of myoglobin (16 951 Da)
1+
[M+H]+
C7250

## Slide 38
20000
30000
40000
50000
60000
70000
m/z
0
20
40
60
80
100
120
a.i.
DH (E. coli, 3 mg/ml, glycine buffer 100 mM)
20000
30000
40000
50000
60000
70000
m/z
100
200
300
400
500
600
a.i.
DH (E. coli, 3 mg/ml, desalted on Sephadex)
20000
30000
40000
50000
60000
70000
m/z
50
100
150
200
250
300
350
400
450
500
a.i.
DH (E. coli, 0.6 mg/ml, desalted on Sephadex)
MALDI - MS
Salt content influence on MALDI ionization
C7250

## Slide 39
Electrospray Ionization
Soft ionization under atmospheric pressure
Simple connection to separation techniques
(HPLC, CE)
Multiply-charged ions
M. Wilm, Principles of Electrospray Ionization, MCP, 2011; 10 (7)
C7250

## Slide 40
ESI – z spray
C7250

## Slide 41
ESI – ionization
(orthogonal geometry)
C7250

## Slide 42
ESI spectrum of myoglobin (16 951 Da)
+ 21
+ 12
transformed spectrum
C7250

## Slide 44
Mass analyzers
Functional Genomics and Proteomics
National Centre for Biomolecular Research
Faculty of Science Masaryk University

## Slide 45
MS and MS/MS
MS
MS/MS
tandem mass spectrometry
MS2
m/z of the whole ion
m/z of the fragments derived from the ion
z

## Slide 46
Quadrupole analyzer (Q)
mass filter
limited mass range (m/z < 4 000)
low resolution
discrimination of high mass ions
MS/MS not possible
C7250

## Slide 47
Full Scan
Selected ion monitoring
Q scan
Q fix
C7250

## Slide 48
Ion trap (IT)
limited mass range (m/z < 6 000, 20 000)
low resolution
enables MS/MS (MSn up to 10)
Conversion Dynode
Endcap
Lenses
Main RF
Ring Electrode
(1/3 Frequency of Main RF)
Octopoles
Auxiliary RF
Optimized Asymptote Angle
Electron Multiplier
pictures by courtesy of Dr. Sauerland (Bruker)
C7250

## Slide 49
C7250

## Slide 50
MS scan
ion capture
sequential ion ejecting out from the trap according to m/z
ion detection
Ion trap
MS/MS scan
ion capture
isolation of ions with selected m/z (precursors)
excitation and fragmentation of isolated ions
fragment detection (product ions)
IT-MS
C7250

## Slide 51
ETD in the HCTultra
Electrospray ion accumulation
Precursor ion isolation
Reactant anion accumulation (nCI source)
ETD fragmentation
Scan
Gate Lens (nCI) = pass
Gate Lens (nCI) = block
Skimmer = block
Fluoranthene anion
by courtesy of Dr. Arnd Ingendoh (Bruker)
C7250

## Slide 52
by courtesy of Dr. Arnd Ingendoh (Bruker)
C7250

## Slide 53
by courtesy of Dr. Arnd Ingendoh (Bruker)
C7250

## Slide 54
Combining Electron-Transfer and Higher-Energy Collision
EThcD
C7250
Frese et al., Anal. Chem. 2012, 84, 9668−9673

## Slide 55
Quadrupole
Ion trap
Linear ion trap

## Slide 56
Linear ion trap
displays advantages of quadrupole and ion trap
limited mass range (m/z < 6 000)
increased ion capacity by order sensitivity increase
enables MS/MS (MSn)
C7250

## Slide 57
…simultaneously Ramp EXB
Exit Lens with Grid
Main RF
Ramped…
Radial RF Trapping Voltage
Radial RF Trapping Voltage
Trapping Forces in a Linear Ion Trap
Auxiliary RF
Ramped….
Axial DC
Trapping
Voltage
Axial DC
Trapping
Voltage
C7250

## Slide 58
Dual pressure ion trap
HP chamber – increase of efficiency of ion traping and their fragmentation
LP chamber – improves resolution and scan speed
LTQ Velos (Thermo)
C7250

## Slide 59
Time-of-Flight analyzer (TOF)
„unlimited“ mass range (m/z < 1 000 000)
fast scanning
high resolution (R až 60 000)
enables MS/MS by PSD (post source decay) – not used today
MALDI
E = 1/2mv2
Detector 1
(reflectron Off)
Detector 2 (reflectron On)
Reflectron
Ion Source
C7250

## Slide 60
TOF – ion separation
C7250
Second part

## Slide 61
Protein (BSA, 66.4 kDa, 15 pmol on spot)
m/z
20000
40000
60000
80000
100000
120000
140000
0
50
100
150
200
250
300
350
400
450
500
550
600
650
[Abs. Int.]
[M+H]+
66465
33219
132721
[M+2H]2+
[2M+H]+
C7250

## Slide 62
Peptide ( 50 fmol on spot)
1+
[M+H]+
[M+Na]+
resolution cca 18 000
C7250

## Slide 63
Ion cyclotron resonance with Fourier transformation
FT- ICR MS
ultimate resolution (R >10 000 000)
determination of elemental composition
enables MSn, top-down approaches
disadvantage (magnet up to 15T, liquid He), high operational costs
C7250

## Slide 64
Mass of elements is not whole numbers
H 1,0079
C 12,0107
N 14,0067
O 15,9994
C2H3O 43,0184
C3H7 43,0547
Significance of high resolution
R DM at mass 43
100 0,43
1000 0,043
10000 0,0043
Sufficient resolution results in possibility to deduce elemental composition
In case of compounds above we need resolution of 1185
In an simplified way,
resolution value indicates lowest distinguishable mass difference
DM
C7250

## Slide 65
C7250
Significance of high resolution

## Slide 66
C7250
Significance of high resolution

## Slide 67
BSA, ESI ionization, FT-ICR MS
0,023 Da
C7250

## Slide 68
Orbitrap
high resolution in MS and MS/MS
(up to 1 000 000, but w/o magnet)
limited mass range m/z < 4 000
ESI
The oscillating ions induce an image current into the two outer halves of the orbitrap, which can be detected using a differential amplifier
Ions generate a sinusoidal wave signal
API Ion Source
C-Trap
Linear Ion Trap
Orbitrap
C7250
with permission Ing. Petr Verner (Thermo)

## Slide 69
516.75
516.76
516.77
516.78
516.79
516.80
516.81
516.82
m/z
0
20
40
60
80
100
516.76671
0
20
40
60
80
100
516.76672
516.78448
516.78490
NL:
9.93E6
Brady_Angio_02#9 RT: 0.23
AV: 1 T: FTMS + p ESI Full
ms [ 140.00-1500.00]
Full Scan – High Resolution, Zoom-in
Lys-des_Arg-Bradykinin
Val5-Angiotensin II
Simulation
0.1 ppm
-0.8 ppm
RP 60,000 @ m/z 400
with permission Ing. Petr Verner (Thermo)
C7250

## Slide 70
Simulations at different resolution settings
R=7,500
R=>100,000
R=15,000
R=30,000
R=60,000
516.8
517.0
517.2
517.4
517.6
517.8
518.0
518.2
518.4
m/z
516.6
518.6
518.8
519.0
516.4
C7250
with permission Ing. Petr Verner (Thermo)

## Slide 72
Basic approaches of data acquisition in MS
Functional Genomics and Proteomics
National Centre for Biomolecular Research
Faculty of Science Masaryk University

## Slide 73
DIA – Data Independent Acquisition
DDA – Data Dependent Acquisition
One precursor selected for MS/MS at a time
Set of precursors is fragmented simultaneously

## Slide 74
Liu et al, Expert Rev. Mol. Diagn., 13(8), 811 (2013)
Acquisition modes
C7250
DDA
DIA

## Slide 75
SWATH MS
Q-TOF, MS/MS < 10 ppm
Retention time
m/z
full MS/MS spectrum
Gillet et al, MCP, 11, 1-17 (2012)
C7250

## Slide 76
Liu et al, Expert Rev. Mol. Diagn., 13(8), 811 (2013)
C7250

## Slide 77
C7250
Unleash the power DIA combined with short gradients (evosep.com)

## Slide 79
Hybrid systems
Functional Genomics and Proteomics
National Centre for Biomolecular Research
Faculty of Science Masaryk University

## Slide 80
Triple quadrupole, 3-Q
(original design, not hybrid)
N2 Inlet
RF Ion Guide
Q1
Q2 Collision Cell
Q3
Detector
robust
quantification
limited mass range (m/z < 4 000)
enables MS/MS (MS2)
variety of scan modes
low resolution
ESI
C7250

## Slide 81
Q 1
Q2
Q 3
Collision cell
Product Ion Scan
Q1 fix
Q3 scan
quadrupole Q1 transmits into collisional cell only ions with selected m/z
quadrupole Q3 analyzes all fragments formed in collisional cell by CID
(originated from selected ions (precursors) transmitted by Q1)
C7250
ABI documents

## Slide 82
Parent mass
Fragment mass
CID
Q1
Q3
Q2
improved sensitivity
detection of low abundant components (e.g. biomarkers in complex samples)
Selected reaction monitoring, SRM
Multiple reaction monitoring, MRM
Q1 „fix“
Q3 „fix“
quadrupole Q1 and Q3 are fixed to selected values of m/z ( Q1-precursor and
Q3- selected fragment), only precursors displaying production of selected
fragment during fragmentation in collisional cell are recorded
enables to follow tens of reactions (transitions) during analytical run (MRM)
C7250
ABI documents
Notes: Multiple Reaction Monitoring – This is the scan with the highest duty cycle and is used for detecting a specific molecule at high senstivity. Here, Q1 is set on the parent mass, the collision energy is optimized to produce a diagnostic fragment of that parent ion, and Q3 is set to the mass of that fragment. Only ions with this exact transition will be detected.

## Slide 83
https://www.creative-proteomics.com/services/parallel-reaction-monitoring-prm.htm
Parallel reaction monitoring (PRM)
Q-Orbitrap MS
similar to SRM/MRM
all fragments of selected precursor are deected
with high resolution/accuracy for determination of m/z
Simplier method adjustment
improved precursor identification and quantification securing high sensitivity
C7250

## Slide 84
Linear ion trap
Q0
Q1
Q2
Q3
3-Q
(LIT instead of Q3)
increased sensitivity (enhanced scans)
enables MS/MS (MSn)
low resolution
ESI
accumulation of ions during LIT scan (reduced loss of ions)
Collisional cell
C7250

## Slide 85
Q-TOF
(TOF instead of Q3)
high resolution (až 60 000)
enables MS/MS (MS2)
ESI, MALDI
Q1
Q2
Collisional cell
TOF
IonCooler™ Guide
Turbo pump
Turbo pump
C7250

## Slide 86
C7250
Bruker
Q-TOF

## Slide 87
Q-TOF
(TOF - W design)
C7250

## Slide 88
Q-Orbitrap
(Orbitrap instead of Q3)
high resolution up to 480 000
m/z range < 6000
HCD, ETD
C7250
Thermo
Exploris 480

## Slide 89
Meier F. et al., Nature Methods, 15, 440-448 (2018)
Q-Orbitrap
BoxCar acquisition method (extended dynamic range)
limitation – C-trap capacity (1 000 000 charges)
capacity is often saturated by high abundant ions
BoxCar collects ions in C-trap in narrow m/z segments allowing to accumulate low abundant ions increasing number of identified peptides and extending dynamic range
MS/MS scans are restricted
creation of peptide library is required for identification (mostly done at MS level)
C7250

## Slide 90
Q-Orbitrap
BoxCar acquisition method
Meier F. et al., Nature Methods, 15, 440-448 (2018)
C7250

## Slide 91
Q-Orbitrap
BoxCar acquisition method
C7250
MaxQuant assembles the full scan (black traces) and BoxCar scans (red traces) of an acquisition cycle to a single high-dynamic-range scan. First, all spectra are transformed to a common high-resolution m/z grid, and the signals from each scan (here one full scan and two BoxCar scans) are integrated over the entire LC elution time (step 1). From the integrated signals, the shape of the quadrupole transmission function for each BoxCar scan is globally determined by a pointwise comparison to the full scan (step 2). The resulting relative transmission factors for each m/z bin in each BoxCar scan are used as weights for calculating the average signal intensity from the full scan and the BoxCar scans. These hybrid spectra are taken as a replacement for standard full scans in all subsequent processing steps without further adjustments (step 3).
Meier F. et al., Nature Methods, 15, 440-448 (2018)

## Slide 92
Q-Orbitrap
BoxCar acquisition method
generation of a peptide library
analysis of individual samples
Meier F. et al., Nature Methods, 15, 440-448 (2018)
C7250
- Hela cell line
- 45 min LC run

## Slide 93
Orbitrap Fusion™ Lumos Tribrid
Resolution Orbitrap
15 000–1 000 000 (FWHM) at m/z 200
Precursor fragmentation techniques:
CID – ion trap
ETD – ion trap
HCD – ion-routing multipole
EThcD – ion trap/ion-routing multi pole
Ion separation/detection:
Ion trap – low resolution
Orbitrap – high resolution
ETD HD – high dynamic range ETD providing significantly increased
fragment ion coverage
C7250

## Slide 94
TOF-TOF
relatively high resolution (< 30 000)
enables MS/MS (MS2)
MALDI
enables off-line connection with LC
(LC-MALDI approach)
C7250
AB Sciex
Bruker

## Slide 95
ion mobility + mass spectrometry

## Slide 96
C7250
The TIMS analyzer is a segmented rf ion guide wherein ions are mobility-analyzed using an electric field that holds ions stationary against a moving gas, unlike conventional drift tube ion mobility spectrometry where the gas is stationary. Ions are initially trapped, and subsequently eluted from the TIMS analyzer over time according to their mobility (K).
coupling ion mobility separation with mass spectrometry
ion mobility brings additional separation dimension
ion mobility allows separation of structural isomers
(in general, compounds with the same or close m/z differing in ccs)
Trapped Ion Mobility Spectrometry
timsTOFTM
TIMS theory – Michelmann K. et al.: J. Am. Soc. Mass Spectrom. 26,14-24 (2015)

## Slide 97
C7250
Trapped Ion Mobility Spectrometry
timsTOFTM
with courtesy of M. Boháč (Bruker)
Unique to TIMS: higher m/z (CCS) elute first.
Ion mobility separates compounds based on their collisional cross section (CCS), which is primarily a function of three-dimensional shape.

## Slide 98
1. Accumulate & Trap step
2. Elute or scan out step
C7250
with courtesy of M. Boháč (Bruker)
Trapped Ion Mobility Spectrometry
timsTOFTM
~10 x higher sensitivity

## Slide 99
C7250
Trapped Ion Mobility Spectrometry
timsTOFTM
resolution of coeluting compounds with overlapping isotopic patterns

## Slide 100
Number of proteins quantified in N out of four replicates.
Average number of protein group identifications in a single run (N=4) with different TIMS settings
analysis of HeLa digest (200 ng)
120 min LC run
C7250
Trapped Ion Mobility Spectrometry
timsTOFTM
BioRxiv, https://doi.org/10.1101/336743

## Slide 101
If a mixture of ions of different sizes and types is introduced between two metal plates, the application of high voltage in an appropriate waveform to the plates will create a condition where some types of ions drift and hit the metal plates while other types of ions remain between the plates.
basic principle:
C7250
Field Asymmetric Ion Mobility Spectrometry
FAIMS
http://www.faims.com/howpart1.htm
FAIMS – Thermo Fisher
Analysis of tryptic digest of HeLa cell lysate

## Slide 102
The end